## GUIDE
PROTOCOL RELEVANCE
SECTION | TOPIC | Single pulse TMS | Motor-evoked potentials | Motor | Afferent conditioning | Paired-associate conditioning | Paired-pulse TMS | Repetitive TMS |  |  | Protocol relevance of each section
A | Participant bio | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ |  | ✔ | Required / all
B | Participant state | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ |  | ? | Recommended / most / some
C | Design | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ |  | ✘ | Not required / some / none
D | Hardware | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
E | Locations | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
F | Intensity | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
G | Single pulse | ✔ | ✔ | ? | ✔ | ✔ | ✔ | ✘
H | Motor threshold | ? | ✔ | ? | ✔ | ✔ | ✔ | ?
I | Motor variables | ? | ✔ | ✔ | ✔ | ✔ | ? | ✘
J | EMG and muscles | ? | ✔ | ? | ✔ | ✔ | ? | ✘
K | Afferent stimulation | ✘ | ✘ | ✘ | ✔ | ✔ | ✘ | ✘
L | Conditioning | ✘ | ✘ | ✘ | ✔ | ✔ | ✔ | ✘
M | SEP | ✘ | ✘ | ✘ | ? | ? | ✘ | ✘
N | Repetitive | ✘ | ✘ | ✘ | ✘ | ✘ | ✘ | ✔
Example protocols |  | Perceptual, cognitive, psychophysics, ePAS | MEP, CSE, Recruitment, Motor mapping, Silent period, CMCT, IHI | Movement | SAI, LAI, SAF, H-reflexes, M-waves, F-waves | PAS | SICI, LICI, ICF, connectivity, ccPAS | triple-pulse QPS 1Hz, 10Hz TBS | Example protocols
INSTRUCTIONS | 1. All data should be entered on the INPUT sheet
2. Enter the article PubMed ID in C1, then go to 5
3. If no PMID, enter the article DOI in C2, then go to 5
4. If no DOI, enter the article URL in C2, then go to 5
5. Enter the study number (1-350) in C3
6. Enter your initials in C4
7. Check the two validation boxes at the top of the INPUT sheet and on the VALIDATION sheet - the orange boxes in the top-right corner should be complete, and timestamps should appear. If timestamps do not appear, stop!
8. If the time-stamps are not appearing, go to: Extensions -> Apps Script -> RUN the macro. If that works (it will run, and report errors). Go back and edit C4, and check VALIDATION again. The timestamp should appear. If not - please let us know!
9. If 1-8 is all working: Open the article & start rating:
10. For every section A-N, decide whether the section is relevant to the article & protocol being assessed & enter (or confirm) 'Yes' / 'No' in 'Section relevant' (these options may be pre-filled for your project)
11. For every item in every relevant section, decide whether the article reports the required details & choose the correct option (mostly: 'Full' / 'Part' / 'Missing', etc)
12. After completing all sections, check the 'VALIDATION' sheet
13. If there are any problems, let us know ASAP!
NOTES | The TMS-RAT is designed to assess the reporting of TMS methods only. While some items may be generic, or also apply outside of TMS studies, you should always focus on the TMS aspects of the study.
A. In general, the TMS-RAT can be used to assess the reporting of ONE protocol at a time, within ONE study that is reported as part of ONE Article. Yet, within one article, the required reporting information may apply across several studies or protocols.
B. In case of overlapping groups or methods within an article, always assess reporting at the lowest level. For example, 'for the TMS protocol I am assessing, is it clear what the mean and SD Age of the participants is?'
C. Items may relate to multiple reporting details (e.g., multiple groups tested on the same protocol, multiple TMS coils used). Where applicable, consider whether information is reported consistently across ALL relevant instances that apply to the assessed protocol.
D. If an item is used to assess multiple reporting details (e.g., multiple groups or multiple TMS coils), then ALL must meet the criteria for Full reporting.
E. The required information to assess a reporting item may appear anywhere in the manuscript. This can be in the Methods, Tables, Figures, Results, online data resources or Supplementary Materials.
F. Do not assume anything - assess only the expliticly-reported information.
G. References to external sources, such as "We followed the standard protocol reported by Smith et al (1990)" are not sufficient - the required information must be in the assessed report
REPORTING OF QUANTITATIVE ITEMS
H. For all items with a numerical report, such as intensity, time, age or threshold, Full reporting always requires both a measure of central tendency (mean or median) and dispersion (SD, SE, CI, IQR or range).
I. Providing a list of all the individual values (e.g., intensities, ages, or thresholds) is always sufficient for Full reporting. For example, a table in the text or online materials with all patients' ages is full reporting of Age.
J. If a report concerns a single case study, then a statement or list of all relevant information (e.g., Age, Threshold) is sufficient for full reporting, and no SD or other measure of dispersion is required.
K. Providing all the individual datapoints (e.g., in Text, a Table, a Figure, Supplementary materials or online materials) is sufficient to calculate mean and SD and is therefore Full reporting.
L. Information presented graphically (in a figure, e.g., as symbols and lines), as long as a measure of central tendency and dispersion is provided, is sufficient for Full (both) or Partial (either) reporting.
M. Error bars or +/- symbols in the text or tables are only sufficient as a measure of dispersion if it is clear what is reported (e.g., SE, SD, 95% CI, IQR). Just giving a +/- symbol is not sufficient for full reporting.
An extensive GLOSSARY is provided at the end of the main Guidance document.

## INPUT
Version 1.0 | PMID |  | PubMed ID of the paper (blank if no PMID) |  | CURRENT STATUS:
2025-06-02 | DOI |  | OR: DOI if no PubMed ID (& URL if no DOI) |  | META-DATA (C1:C5) | INCOMPLETE
| Study |  | Number or ID within project |  | DATA (C9:C108) (for details, see VALIDATION sheet) | INCOMPLETE
| Rater |  | Initials or ID of rater within project
| Protocol |  | (for this project: assess SAI & LAI reporting only)
ASSESSMENT |  |  |  |  | CRITERIA AND EXAMPLES OF REPORTING
REPORTING CATEGORY | LABEL | RATING | RATER COMMENTS | Description | Full = SUFFICIENT | Part = PARTIAL | Missing = INSUFFICIENT | n/a = NOT APPLICABLE
A. PARTICIPANT BIO A. PARTICIPANT BIO A. PARTICIPANT BIO A. PARTICIPANT BIO | A1. Age QUANTITATIVE |  |  | What age were the human and/or animal participants in the study? | List all participant ages (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR range): "18-45 (M=30, SD=10) years" | Only mean/median or only a measure of dispersion "18-45 years" | No report "Adults" "Children" | Always applicable
| A2. Sex |  |  | What was the distribution of participant sex? | List all participant sexes (e.g., Table, Figure, Suppl, OSF), or report number of participants by sex category: "6 female, 4 male" | Numbers listed ≠ total OR gender reported, not sex "6 women and 7 men" "6 females" [when N=10] | No report | Always applicable
| A3. Handedness |  |  | What was the distribution of participant handedness? | List all participant handedness (e.g., Table, Figure, Suppl, OSF), or report number of participants by handedness category: “8 right-handed and 8 left-handed participants were tested” "13 right-handed, 3 mixed, 2 left-handed” | Numbers listed ≠ total "6 right-handed" [when N=10] | No report | Always applicable
| A4. Height QUANTITATIVE |  |  | What were participants’ heights in cm or inches? | List all participant heights (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR range): "150-180 (M=175, SD=10) cm" | Only mean/median or only a measure of dispersion "150-180 cm" “Participants were a mean of 170 cm tall” “Height ranged from 160 to 185 cm” | No report | Always applicable
| A5. Weight QUANTITATIVE |  |  | What were participants’ weights in kg or pounds? | List all participant weights (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR range): "65-95 (M=78, SD=5) kg" | Only mean/median or only a measure of dispersion "65-95 kg" “Participants were a mean of 78 kg in weight” “Weight ranged from 140 to 210 pounds” | No report | Always applicable
B. PARTICIPANT STATE B. PARTICIPANT STATE B. PARTICIPANT STATE B. PARTICIPANT STATE B. PARTICIPANT STATE | B1. Medication |  |  | Were participants screened for prescribed or unprescribed medications? (either specific medications, or more generally) If a medication is part of the study design (as an IV), were participants screened for other medications? | "Participants were screened for prescribed and unprescribed medications" "Participants in the medicated group were screened for all other medications" "The medicated and unmedicated groups were not screened for other medications" “We excluded participants on any medication” | Only use 'Part' when some participants were screened but others were not Often with mixed clinical + healthy samples, e.g., patients were screened, but healthy controls were not “The patient group was screened for medications” [control group present but not mentioned for medication screening] | No report | Always applicable
| B2. CNS-active substances |  |  | Were participants screened for CNS-active substances such as caffeine, alcohol, or nicotine? (either specific CNS-active substances, or more generally) If a CNS-active substance is part of the study design (as an IV), were participants screened for other substances? | "Participants were screened for CNS-active substances" "Participants were screened for CNS-active substances; none had consumed any caffeine in the 12 hours before the study" “We excluded participants taking CNS active drugs” May include: Alcohol, nicotine, caffeine, energy drinks, recreational drugs | Only use 'Part' when some participants were screened but others were not Often with mixed clinical + healthy samples, e.g., patients were screened, but healthy controls were not “The patient group was screened for the use of CNS active substances” “Participants in group B were asked to retain from alcohol 24 hours prior to testing” | No report | Always applicable
| B3. Neurological, psychiatric or behavioural |  |  | Were participants screened for neurological, psychiatric, behavioural or developmental conditions? (either specific conditions, or more generally) If a condition is part of the study design (as an IV), were participants screened for other conditions? | "Participants were screened for neurological, psychiatric and behavioural conditions" “Participants were provided a screening questionnaire (Appendix A) covering psychiatric conditions” “Participants reported which neurological or behavioural conditions they had, but none were excluded” | Only use 'Part' when some participants were screened but others were not Often with mixed clinical + healthy samples, e.g., patients were screened, but healthy controls were not “All patients were screened for any other psychiatric conditions” | No report "Healthy" "Normal" "Typical" "Neurotypical" | Always applicable
| B4. Medical |  |  | Were participants screened for medical or systemic conditions? (either specific conditions, or more generally) If a condition is part of the study design (as an IV), were participants screened for other conditions? | "Participants were screened for medical and health conditions" "We excluded participants with ongoing medical conditions" "Several participants reported minor health issues, but none were excluded" | Only use 'Part' when some participants were screened but others were not Often with mixed clinical + healthy samples, e.g., patients were screened, but healthy controls were not “All patients were screened for any other medical conditions” | No report "Healthy" "Normal" "Typical" | Always applicable
| B5. Cognitive state |  |  | How was participants' current cognitive state assessed? | "Participants were assessed on the MoCA test and scored within the typical range" | Only use 'Part' when some participants were screened but others were not Often with mixed clinical + healthy samples, e.g., patients were screened, but healthy controls were not "The PD groups was assessed on the Mini-Mental State Examination” | No report | Always applicable
| B6. Sleep |  |  | How was participants' current alertness or recent sleep assessed? | "Participants had slept normally the night before" "Participants were tested immediately after waking up" | Some information, but missing details "Participants were screened for sleep quality" | No report | Always applicable
| B7. Posture |  |  | What was the general body posture during the testing session? (e.g., standing, seated, lying?) | “Participants were seated” “All participants lay on a treatment table throughout stimulation.” | "Participants were relaxed" "Maintained a comfortable posture (e.g., of head, neck, shoulders)" | No report | Always applicable
C. DESIGN C. DESIGN C. DESIGN C. DESIGN C. DESIGN C. DESIGN | C1. Studies |  |  | How many studies, experiments, or components are included in the article? How are participants divided between them? | Single: One experiment or study, may have multiple groups or sessions Multiple, Repeated: The same group(s) complete 2+ studies; may involve sub-groups Multiple, Independent: Completely seperate group(s), multiple studies | Some detail, but N studies is unclear, eg, because sub-groupings or selections are not clear | No report | Always applicable
| C2. Population |  |  | What population(s) of participants are studied? | Healthy: "Healthy participants were recruited from the University of Bath" Clinical: "All participants had received a diagnosis of dementia and were recruited from the outpatients clinic" Mixed: "Stroke patients were identified from the hospital’s neurology ward, and were compared to age-matched controls recruited through community advertising." | "Participants were recruited from the general hospital population" | No report | Always applicable
| C3. Groups |  |  | How many independent groups were studied? | Single: One group contributes data to all levels of the design Intermediate: Some parts of study have a single group, others multiple Multiple: Two or more groups contribute data | Some detail, but number of groups is unclear "Twenty four participants completed four experiments, with 12, 8, 6, and 5 participants in Experiments 1 to 4, respectively” | No report “Participants completed the tasks in different sessions.” | Always applicable
| C4. Protocol |  |  | What general TMS protocol was used? | Many variations, minimal detail required if protocol is named; more detail if not: “We applied intracortical conditioning with a subthreshold conditioning pulse 2 ms before the test pulse.” "Single-pulse TMS"; "Paired-pulse TMS" "Afferent conditioning"; "Paired-associate conditioning" "Repetitive TMS"; "Patterned TMS" | “TMS was delivered every five seconds to the motor cortex” “We used TMS in a pre-post design” | No report "TMS was used" | Always applicable
| C5. Time of day |  |  | What time of day were the TMS sessions done? | List all dates & times (e.g., Table, Figure, Suppl, OSF) "Sessions typically started at 9h (N=5) or 14h (N=7)" "TMS was done at the same time every day" | Some information, but no detail "TMS was done at different times for different subjects" | No report | Always applicable
| C6. Session duration and interval |  |  | For experimental sessions, what was the session duration? If the same participants completed multiple sessions, how were they scheduled? | List all dates & times (e.g., Table, Figure, Suppl, OSF), or for interval, mean/median and a measure of dispersion (e.g., SD, range), unless fixed "A single session, lasting 3 hours" "Two sessions, each lasting two hours, mean (SD) of 5 (2) days apart" | "A single session" "Two 1 hour sessions" (no information of interval) "Two sessions" “All participants were tested on Monday before and after the 4 weeks of homotaurine administration” “3 day interval” | No report | Always applicable
| C7. Attention |  |  | How was participants’ attention maintained during the study, specifically during the TMS? (e.g., by task, breaks, monitoring by experimenter, or attention checks) | "A manual lifting task was performed by subjects during TMS" "Experimenters monitored the subject continuously" "The subject was given frequent breaks" “TMS was delivered in short blocks of around 5 minutes duration. Breaks of several minutes were given between blocks” “Experimenters monitored participants’ attentional state, and paused the experiment if the participant was not focussed” “Participants performed a vigilance task during TMS, responding approximately every 10 seconds to a dot on screen” | Some description but no detail “Participants were alert and attentive throughout” “Participants’ attention was maintained” | No report "The subject was given audiovisual feedback at high gain to assist in maintaining complete relaxation" | Always applicable (e.g. in sleep study, attention=sleep state)
| C8. Control condition |  |  | Which procedures were used to control for non-specific, non-targeted or unwanted effects of TMS? Which control conditions, sham, placebo, or baseline comparisons were used? | "Unconditioned MEPs were compared with conditioned MEPs" "Conditioned MEPs were converted to a ratio of unconditioned MEPs and compared against 1" "The target site was the left M1, the control site was right M1" "Time 1 was expected to produce inhibition, and Time 2 no change" "A realistic sham condition was used to control for non-specific effects" | No explicit mention of the control used, but is implicit in or can be inferred from the study design "Unconditioned and conditioned" "TMS to two different locations" | No report | Always applicable
| C9. Sensory attenuation |  |  | Which procedures were used to minimise side-effects of stimulation? (e.g., was there any anaesthesia, ear plugs, or other sensory attenuation?) | "Participants all wore ear plugs during TMS" "The stimulation site was anaesthetised" "White noise was played to mask the sound of TMS" | "Participants were offered ear plugs" "Some participants wore ear plugs" | No report | Always applicable
D. HARDWARE D. HARDWARE D. HARDWARE | D1. Stimulator |  |  | What make and model magnetic stimulator was used? | "Magstim 200"; "Magstim BiSim^2, BiStim mode" "Magventure MagPro R20" "Mag & More PowerMag Lab 30" | Make or Model "Magstim", "BiStim" "Magventure" "MagPro" "Magstim BiStim" (without mode) | No report | Always applicable
| D2. Coil shape and model |  |  | What was the shape of the TMS coil used and what was the model number? | Geometry: "Round"; "Circular"; "Oval"; "Racetrack", "Figure-8"; "Butterfly"; "Double Cone"; "H-coil" AND Model or Part Number or Custom: "MCF-B65", "P/N: 205100", "custom-made coil" | Geometry or model/Part number "Figure of 8 coil" "P/N: 205100" | No report | Always applicable
| D3. Coil diameter |  |  | What was the diameter of the coil, or its wing(s), and what dimension does this diameter refer to? | "100mm outer diameter (OD)" "75mm mean diameter" "40mm inner diameter" | Diameter only and/or Model or Part Number P/N only "70mm" "P/N: 205100" | No report | Always applicable
| D4. Pulse waveform |  |  | What shape was the TMS pulse waveform? | "Monophasic" "Biphasic" "Half-sine" | - | No report | Always applicable
E. LOCATIONS E. LOCATIONS E. LOCATIONS E. LOCATIONS | E1. Head and brain neuronavigation |  |  | Which method of head and/or brain neuronavigation was used, with details? With MRI-based methods, which scan type(s) were used and were they subject-specific or templates? | "10:20 system" or "scalp measurements" (AND details required) "Participants' heads were measured, and the C3 electrode location was used as a reference" "BrainSight, with individual structural MRI (T1-weighted, 1x1x1mm)" "InVesalius, with a template structural MRI (T1 weighted, 2x2x2mm)" | Description without detail "Measured on the scalp" "BrainSight" "The 10:20 system” “Invesalius” | No report | Always applicable
| E2. Coil location on skin |  |  | Where was the coil placed on the surface of the skin? What anatomical landmarks on the skin or bones were used, and what measurements were taken? | List all locations used (e.g., Table, Figure, Suppl, OSF) "5cm left and 1cm forward from vertex" "the P3 electrode, 5cm posterior and 3cm lateral to vertex" "the part of scalp closest to the MRI coordinate MNI(-40,-40,40)mm" "on the skin over the fifth cervical spinal segment" “positioned approximately 4 cm left in the binauricular line from vertex" “centered over the vertex” | "The P3 electrode" "At the top of the head" "Near the vertex" | No report or CNS location only: “hotspots for right and left APB muscles in the left and right hemisphere” “held over the motor cortex” “on the scalp over the left hand motor area” | Always applicable
| E3. Target location in CNS |  |  | What was the anatomical (structural) or functional target within the nervous system? (within a few cm precision) | Structural or functional location targeted in the nervous system "optimal position over the left motor cortex for the right FDI muscle" "motor hotspot for the right hand" "Junction of precentral sulcus and superior frontal sulcus" "MNI coordinate (-40, -40, 40)mm" | "The posterior parietal cortex" "motor cortex" | No report or skin location: "over the vertex" | Always applicable
| E4. Coil orientation |  |  | How was the coil oriented relative to the head? Requires both the angle and what the angle is relative to - a reference point or plane | Angle and reference: "Handle pointing postero-laterally, ~45deg from midline" “coil was held tangentially to the skull with the handle pointing backward and laterally at an angle of 45 deg to the sagittal plane” | Angle or reference, or insufficiently clear: "Handle pointing backwards" "45 degrees from the midline" "held at 45 degrees" | No report | Round coils: n/a
| E5. Coil current direction |  |  | What was the orientation of the current in the coil, relative to the target, and/or to the head or body? | "Anterior-to-posterior, orthogonal to the central sulcus" "Postero-lateral to antero-medial" "PL-AM"; "PA" For biphasic pulses, "PL-AM to AM-PL" or "PA-AP" | "backwards” "sideways" | No report | Always applicable
| E6. Coil stability |  |  | How was the stability of the coil maintained (eg, by eye, mechanically, or with software)? Must be quantified using mm, cm, degrees, or another numerical measure | Named stability monitoring method (e.g., BrainSight, scalp markers, experimenter), and placement accuracy (e.g., within ~2 mm) “The coil was maintained by the experimenter, within 3 mm and 5 degrees of the target” “A robotic manipulator maintained the coil position within 2 mm” | Description without measurement "Experimenter observation" "Neuronavigation" "Marked on the scalp with a pen" | No report | Always applicable
F. INTENSITY F. INTENSITY | F1. Intensity method |  |  | How was the TMS intensity decided? | Various approaches are possible: "TMS presented at a fixed machine intensity" "TMS intensity was set relative to a motor (or sensory) threshold" "TMS intensity was set at a level that resulted in 50% inhibition" "TMS intensity was calibrated to achieve 50 V/m in the brain" | - | No report | Always applicable
| F2. Machine intensity QUANTITATIVE |  |  | What was the intensity of the TMS used, in % of the maximum stimulator output (%MSO) or dI/dT? | List all stimulation intensities in %MSO OR dI/dT (e.g. Table, Figure, Suppl, OSF) or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range): “TMS was presented at an average of 50% MSO (range 40-70)” “The median TMS intensity was 60% (IQR 10%) MSO” | Only mean/median or only a measure of dispersion "Mean 65% MSO" "40-75% MSO" “TMS was given at 50% of the maximum stimulator output” | No report "Just above motor threshold" "110% AMT" [Participant intensity] | Always applicable
| F3. Participant intensity QUANTITATIVE |  |  | What was the participant-specific intensity of the TMS used, relative to a threshold? The threshold could be (e.g.) an MEP measure like RMT, AMT, 1mV, or 50% of the maximum MEP; an estimated induced current like V/m; or an estimated effect, eg 50% inhibition | List all stimulation intensities in %Threshold (e.g., Table, Figure, Suppl, OSF) or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range): "105-125 (M=120, SD=5) %RMT" "Median 120%, IQR 5% RMT" | Only mean/median or only a measure of dispersion "Mean 115% RMT" "80-95% AMT" | No report “TMS intensity ranged from 40 to 65% MSO” [Machine intensity] | No threshold used: n/a
G. SINGLE PULSE G. SINGLE PULSE | G0. Criteria relevant? |  | Relevant for: all spTMS, MEP, paired-pulse, afferent conditioning/PAS studies; some other studies - refers only to TMS pulses delivered alone (e.g., unconditioned); single pulses are often mixed with other pulse types
| G1. Trial-to-trial interval |  |  | What was the duration between each successive test (unconditioned) pulse of TMS? Alternatively, what was the TMS frequency? | "Every 5 seconds" "TMS was presentedat between every 5-10 seconds" "At 0.2Hz" "A mean (SD) of 6.5 (1.5) s" In paired-pulse studies, refers to the test pulse | Some detail "A random interval" "Approximately 5 seconds" | No report | Always applicable
| G2. Number of pulses |  |  | How many single pulses of test (unconditioned) TMS were presented? | "40 repeats per block, 4 blocks per condition, total 160 MEPs" "20 repeats per condition, total 80 MEPs" "30 single pulses of TMS (test pulses) were presented" "20 unconditioned TMS pulses were randomly intermixed with the conditioned TMS pulses" | Details ambiguous, eg if >1 condition "Ten pulses per condition” “A total of 200 pulses across all conditions” "40 MEPs per block of conditioned and unconditioned TMS pulses" "90 MEPs" | No detail | Always applicable
| G3. Evoked response raw QUANTITATIVE |  |  | What are the values of responses evoked by test (unconditioned) pulses of TMS, in raw units? Most commonly: MEP amplitudes in mV or µV; could also be EMG area under curve or silent period duration; EEG responses; in conditioning protocols, the 'unconditioned' response | List all evoked responses in mV or mV.ms (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range): “Unconditioned MEP amplitudes were a mean of 1.2 (SD=0.2) mV” “Single pulse MEPs varied from 500 to 1800 µV (median=1250 µV)” "Silent periods were a mean of 140 (SD=23) ms long" | Only mean/median or only a measure of dispersion "Mean 1.1 mV" "100 to 350 µV" "20-35 mV.ms" "a mean of 140 ms long" | No report | No MEPs, silent periods, or other EMG features measured: n/a
H. MOTOR THRESHOLD H. MOTOR THRESHOLD H. MOTOR THRESHOLD | H0. Criteria relevant? |  | Relevant for: all MEP, paired-pulse, afferent conditioning/PAS studies; many other studies
| H1. Threshold location |  |  | How was the scalp location used for the threshold located? Requires: a) distances relative to one or more scalp landmarks (vertex, inion, 10:20 electrode) OR b) Search strategy, which may involve a grid on the scalp or neuronavigation | "Start at 5cm lateral to vertex, 1cm grid, 2cm in all directions" "Explored likely location of motor cortex, several cm in each direction starting 4cm left of vertex" "Located the hand knob on the likely motor cortex, and explored several cm in each direction" | Description without detail “Approximately 5 cm lateral to vertex” "Identified the hand area with neuronavigation" | No report “Over the motor cortex” “The optimal position for the FDI muscle” | Always applicable
| H2. Threshold type |  |  | What type of threshold was measured to determine stimulation intensity? Many motor thresholds will not involve EMG recording | "Resting motor threshold" "Active motor threshold" "Intensity required for ~1mV MEP" "TMS intensity required for 50% maximum MEP" | Some detail, but imprecise: "Motor threshold" | No report | Always applicable
| H3. Threshold criterion |  |  | What response was used to define the threshold? | "MEPs of >50µV peak-to-peak, within 10-50ms after TMS" "Visible twitch of the FDI muscle" | "MEPs in a hand muscle" "Visible twitches" | No report "Rossini et al (1994)" "Following international guidelines" | Always applicable
| H4. Threshold algorithm |  |  | How was the TMS intensity adjusted to find the motor threshold? | N hits out of M pulses, or custom algorithm: "Minimum TMS intensity to achieve 5 MEPs in 10 pulses" "Minimum intensity to give 10 twitches after 20 TMS pulses" "MTAT-2 thresholding algorithm" (plus details) "Custom thresholding algorithm" (plus details) | "Until ~50% MEPs" "Approximately half of pulses gives a twitch in the hand" | No report "Rossini et al (1994)" "Following international guidelines" | Always applicable
| H5. Threshold values QUANTITATIVE |  |  | What was the overall value of motor thresholds (e.g., RMT, AMT), in each participant group, expressed in %MSO or dI/dT? | List all thresholds in %MSO (eg Table, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range): "40-75 (M=50, SD=10)% MSO" "Median 45%, IQR 15% MSO" | Only mean/median or only a measure of dispersion: "Mean 65% MSO" "40-75% MSO" | No report | Always applicable
I. MOTOR VARIABLES I. MOTOR VARIABLES I. MOTOR VARIABLES | I0. Criteria relevant? |  | Relevant for: all MEP, motor studies, afferent conditioning/PAS studies; most paired-pulse studies; some other studies
| I1. Motor skills |  |  | Were participants screened for history of repetitive movements, skills, or expertise? (either specific skill/expertise, or more generally) If the skill/expertise is part of the study design (as an IV), were participants screened for other skills? | List all participants' repetitive or skilled movements (e.g., Table, Figure, Suppl, OSF) "Participants asked about any repetitive or skilled movements" "One of the participant was a professional pianists" May include: Sport, exercise, gaming, music, craft, profession | _ | No report | Allways applicable
| I2. Prior motor activity |  |  | What were participants instructed to do, or reported doing, before the testing session? | "Participants asked not to do strenuous activity before the study" “Participants were tested immediately after a workout” "Participants relaxed for 30 minutes during set-up" | “Participants’ prior motor activity was recorded” | No report "Participants were relaxed" | Always applicable
| I3. Target muscle or body part activity |  |  | What was the level of activity in the targeted muscles or body parts during TMS? This refers to the principle time(s) or task(s) when the main dependent variable(s) were measured | "Fully relaxed the target muscle / body part" "Trials with EMG > 50µV in the 100ms before TMS were excluded" "Moderate contraction without fatigue" “Participants performed a natural arm movement during the TMS” "Participants maintained a weak contraction during the task" | "Participants were relaxed" "At rest" | No report | Always applicable
J. EMG & MUSCLES J. EMG & MUSCLES J. EMG & MUSCLES J. EMG & MUSCLES | J0. Criteria relevant? |  | Relevant for: all MEP, afferent conditioning/PAS studies; most paired-pulse studies; some other studies
| J1. EMG hardware |  |  | What make and model hardware was used to collect EMG data? | Make and Model "CED 1401 and CED 1902" "BioPac MP100" "AD Instruments PowerLab 16/30" | Make or Model "CED" "1401" "a BioPac system" "an AD Instruments Powerlab" | No report | Always applicable
| J2. EMG software |  |  | What software and version were used to collect EMG data? | Software and Version "Spike 2, version 6" "Acqknowledge Version 3.2" "LabChart 8" | Software or version "CED"; "Spike" "BioPac"; "Acqknowledge" "Powerlab"; "LabChart" | No report | Always applicable
| J3. Skin preparation |  |  | How was the skin prepared? | "Skin cleaned with alcohol" "Shaved, abraded & cleaned the skin with alcohol" | Some report, but limited detail "Skin was prepared" “Sites were cleaned” [without describing cleaning method] | No report | Always applicable
| J4. Electrode type, material and size |  |  | What electrodes were used? (type, material and size) | Material and size required "Surface electrodes (Ag/AgCl), 2cm diameter" "2cm diameter silver/silver-chloride electrodes" | Some report, but limited detail "surface electrodes" "2cm diameter electrodes" | No report | Always applicable
| J5. Electrode location |  |  | Where were the electrodes placed? (targeted muscle and side of the body) | Side of body and muscle targeted both required "right FDI" "placed over the left forearm flexors" | Missing side of body or muscle targeted "right hand" "FDI" "Left forearm" | No report | Always applicable
| J6. Electrode montage |  |  | What electrode placement was used? States the montage, and either the distance between electrodes or sufficient anatomical detail | Montage and distance between electrodes required "belly-tendon montage, 2-3cm apart" "one electrode over the belly, the other 3cm along the muscle" "one electrode over the muscle belly, the other over the metacarpal-phalangeal joint" | Missing montage or distance "belly-tendon montage" "3 cm apart" | No report | Always applicable
| J7. Sampling and filtering |  |  | What sampling rate was used and what filtering was applied to the data at data acquisition? (sampling rate, filter type and cut-off frequencies) | Sampling rate, filter type and cut-off frequency/frequencies required "4kHz sampling, 10-2000Hz bandpass filter" "Filtered online, 20Hz highpass, 2kHz lowpass; stored at 5kHz for analysis" | "Sampled at 2000Hz" "25-1000Hz filter" “Data were acquired at 10 kHz and saved for offline analysis” | No report | Always applicable
| J8. EMG measure |  |  | What feature of the EMG data was measured, and within which specific time interval? | EMG feature and interval required "peak-to-peak amplitude of the MEP within 50ms of the TMS" "Maximum minus minimum EMG peak, within 10-50ms after TMS" "Area under EMG curve, between MEP onset and offset" [where onset & offset defined precisely] "Time between offset and onset of EMG activity" [eg silent period, where onset & offset defined precisely] | "MEP amplitude" "Area under the MEP" "Silent period" "Peak-to-peak amplitude" | No report | No MEPs, silent periods, or other EMG features measured: n/a
| J9. EMG amplitude normalization |  |  | For each participant, (target) muscle and session, how were the EMG responses normalised? (various approaches are possible: e.g., maximum voluntary contraction, MVC, maximal M-wave, MEP maximum, or not normalised: https://doi.org/10.1016/j.jelekin.2020.102438) | State the method used to normalise EMG amplitudes "MEP max was 10-20 (M=16, SD=2)mV; MEP responses are expressed relative to this maximum" "MEPs are expressed relative to the maximal M-wave" "MEPs were converted to percentages of the maximum voluntary contraction (%MVC)" "MEPs were not normalised" | Some information, but unclear: "MMAX Mean 16mV" "MEP max = 10-20 mV" "MEPs were normalised" [without detail] | No report | No MEPs, silent periods, or other EMG features measured: n/a
K. AFFERENT STIMULATION K. AFFERENT STIMULATION K. AFFERENT STIMULATION K. AFFERENT STIMULATION | K0. Criteria relevant? |  | Relevant for: all afferent conditioning/PAS, SEP and N20 studies; some other studies
| K1. Afferent stimulation hardware |  |  | What make and model peripheral nerve stimulator was used for afferent conditioning? | Make and model required "Digitimer DS7AH" "AD Instruments Dual BioAmp & Stimulator" | Missing details of make or model “Nerve pulses (Digitimer)” "Digitimer" "AD Instruments" | No report | Always applicable
| K2. Electrodes or stimulators |  |  | What electrodes or other stimulators were used for afferent / peripheral skin or nerve stimulation, and how were they oriented on the body? | Electrode type and and orientation required "bar electrode, cathode proximal" "Ring electrodes, anode distal" "Solenoid tapper, 1cm diameter" [round things have no orientation] | Missing details of dimention or distance "Bar electrode" "anode distal" "solenoid" | No report No detail "Electrodes" | Always applicable
| K3. Afferent stimulus location |  |  | Where was the stimulator placed on the surface of the skin? What anatomical landmarks on the skin or bones were used? | Side and location on body surface required “Right hand at the wrist” "Left cubital fossa" "index finger on the dominant side, distal and middle phalanxes" "Contralateral hand at the wrist" | Missing details of body side, or body part “Right hand” "cubital fossa" | No report or Nerve target only: "median nerve" | Always applicable
| K4. Afferent stimulus target |  |  | What nerve was targeted? | "median nerve" "ulnar nerve" "digital nerve" | "Wrist nerves" “Nerves at the forearm” | No report or skin location only: "at the right wrist" | Always applicable
| K5. Duration and waveform |  |  | How long was each nerve stimulus and what was the waveform? | "0.2ms square wave pulse" "100 us pulses, square wave" | Missing details of waveform or duration "square wave pulse" "0.2 ms pulses" | No report | Always applicable
| K6. Threshold type |  |  | What type of threshold was used to calibrate afferent stimulus intensity? | Name type of threshold used "Sensory threshold" "Perceptual threshold" "Minimum intensity to evoke a small twitch in the hand" "M-wave threshold in the target muscle" | _ | No report | No threshold measured: n/a
| K7. Threshold values QUANTITATIVE |  |  | What was the threshold, in mA or V units? | List all threshold values in mA or V (e.g., Table, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range): "4-11 (M=7, SD=2) mA" "Median 7, IQR 2 mA" | Only mean/median or only a measure of dispersion: "Mean 7 mA" "4-11 mA" | No report | No threshold measured: n/a
L. CONDITIONING L. CONDITIONING L. CONDITIONING L. CONDITIONING | L0. Criteria relevant? |  | Relevant for: all afferent conditioning, PAS and paired-pulse studies, where a conditioning pulse (afferent/sensory or central/electrical/magnetc) and TMS pulses are paired; some other studies
| L1. Conditioning intensity (machine) QUANTITATIVE |  |  | What was the intensity of the conditioning stimulus in raw units? For afferent conditioning this is in milliamps (mA) or volts (V) For TMS conditioning, this is in %MSO of dI/dT | List all stimulation intensities in mA or V or %MSO or dI/dT (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range) "4-11 (M=7, SD=2) mA" "Median 7, IQR 2 mA" "Conditioning intensity was a mean of 50.5 (SD=5)% MSO" | Only mean/median or only a measure of dispersion "Mean 7 mA" "4-11 mA" | No report "Just above motor threshold" "110% of the M-WAVE threshold" [Participant intensity] | Always applicable
| L2. Conditioning intensity (participant) QUANTITATIVE |  |  | What was the participant-specific intensity of the conditioning stimulus, relative to a threshold? For afferent conditioning, the threshold could be a sensory/perceptual or motor measure such as visible twitch, M-wave, CMAP, or MMAX. For TMS conditioning, the threshold could be (e.g.) an MEP measure like RMT, AMT, 1mV, or 50% of maximum MEP; an estimated induced current like V/m; or estimated effect like 50% inhibition | List all stimulation intensities in %Threshold (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range) "105-125 (M=120, SD=5) % motor threshold" "Median 300%, IQR 50% sensory threshold" | Only mean/median or only a measure of dispersion "Mean 115% Motor threshold" "2-3 times sensory threshold" "Just above the motor threshold" "At the intensity required to elicit a visible twitch" "At 80% of resting motor threshold" | No report | No threshold used: n/a
| L3. Condition-Test interval(s) |  |  | When was the conditioning stimulus presented relative to the TMS pulse? | "The first pulse was delivered 2ms before the second pulse" [clear that it applies to all trials] "We used SICI and SICF with intervals of 1, 2, 5, 8, 10, 12, and 15 ms" “On average, the nerve pulse was delivered 22.3 ms before TMS (SD=2 ms)” “TMS was presented 2 ms after the N20 peak, which occurred at 19.4 ms on average (SD=0.4 ms)” "TMS was presented at N20+2 and N20+4 ms" | Some information, but missing precision or detail "We used SICI-2" “TMS was presented relative to the N20 latency” “Afferent stimulation preceded TMS by between 10 and 50 ms” | No report | Always applicable
| L4. Conditioned and unconditioned order |  |  | Is the temporal order or arrangement of conditioned and unconditioned pulses clearly reported? | "Conditioned and unconditioned responses were collected in randomised order" "A single unconditioned MEP was collected after every 5 conditioned MEPs within each block" "Ten unconditioned MEPs were collected in a separate block immediately before the conditioned blocks" "The control-conditioning test pairs and a single TMS pulse control condition were recorded 20 times in random order" “Test-alone stimuli were delivered as every 4th stimulus, and conditioning + test stimuli were delivered 10 times at 12 ISIs” “CS-TSs and control TSs were delivered in all participants in a pseudorandomized sequence” | Partial information "Conditioned and unconditioned MEPs were mixed in blocks" | No report | Always applicable
| L5. Number of conditioned TMS pulses |  |  | How many conditioned TMS pulses were given? | "Ten conditioned responses were collected for each interval, with 100 conditioned pulses in total" "Five stimuli were delivered at each ISI" "Ten pulses of each technique, as well as ten pulses of unconditioned TS were collected and averaged" | "Five repeats were done" | No report | Always applicable
| L6. Conditioned response raw QUANTITATIVE |  |  | What were the values of the conditioned responses, in raw units? | List all responses in original units such as mV or mV.ms (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range) "0.6-1.1 (M=0.8, SD=0.1) mV" "10-25 mV.ms (M=20, SD=5)" | Only mean/median or only a measure of dispersion "Mean 0.8 mV" "10-25 mV.ms" | No report | Always applicable
| L7. Conditioned response relative QUANTITATIVE |  |  | What were the values of the conditioned responses, relative to the unconditioned responses? | List all responses as % of unconditiioned (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range) List all of both unconditioned AND conditioned responses in raw units "80-105 (M=90, SD=5) % of unconditioned" "0.6-0.8 (0.7, SD=0.05) relative to unconditioned" | Only mean/median or only a measure of dispersion: "Mean 90% of unconditioned" "0.6-0.8 relative to unconditioned" | No report | Always applicable
M. SEP M. SEP M. SEP | M0. Criteria relevant? |  | Relevant for: some afferent conditioning/PAS studies where (eg) N20 potential latency is used; some other studies (details may be shared with Section J, K)
| M1. Frequency and repetitions |  |  | What was the afferent stimulation frequency (or inter-pulse interval), and how many repetitions were done (or how long did the stimulation last)? | Interval between afferent pulses or frequency, and N repetitions "3Hz, 512 repetitions, repeated 3 times" "200 pulses at 2.5 pulses per second" | Frequency or duration or repetitions "at 3Hz" "500 repetitions" | No report | Always applicable
| M2. EEG montage |  |  | What arrangement of active and reference electrodes on the head and/or body was used to measure the SEPs? | "C3 and C4 electrodes, referenced to Cz" "Erb's point, C7 at the spine, and C3, with Fz as common reference" "C4, linked earlobe reference" | Electrode or reference "C3 electrode" "Referenced to Fz" "Erbs' point and spine, C7" | No report | Always applicable
| M3. SEP feature |  |  | Which SEP potential, component, or feature was targeted? Must refer to the component name and whether it's an amplitude of timing feature | "N20 potential peak latency and amplitude" "The N20-P25 complex amplitude" "The latency of N10 and N13 potential peaks" | Missing detail: "N20" "SEP latency" "N20-P25 complex" "N10 and N13 potentials" “SEP latency” “SEP amplitude” | No report | Always applicable
| M4. SEP values QUANTITATIVE |  |  | What were the values of the SEP measure? | List all SEP measures in mA or ms (e.g., Table, Figure, Suppl, OSF), or mean/median and a measure of dispersion (e.g., SD, SE, IQR, range) "18-22 (M=20.1, SD=0.5) ms" "Median 1.5, IQR 0.4 mA" “The median SEP amplitude was 2.4 μV (range 1.0-4.5)” “The N20 potential peak ranged from 17.5 to 22.2 ms (mean=20.1 ms)” | Only mean/median or only a measure of dispersion: “N20 potential was a mean of 20.1 ms” “N20-P25 amplitude was 4.5 μV” “N20 latency ranged from 17 to 21 ms” | No report | Always applicable
N. REPETITIVE N. REPETITIVE N. REPETITIVE N. REPETITIVE N. REPETITIVE | N0. Criteria relevant? |  | Relevant for: all rTMS studies; some other studies
| N1. Burst frequency |  |  | What was the frequency (or inter-pulse interval) within a single burst of rTMS? | "5Hz" "Every 200ms" (e.g., 'theta-burst' = 50Hz) | - | No report | Always applicable
| N2. Number of within-burst pulses |  |  | How many consecutive pulses were within each burst of rTMS (or how long did the rTMS last)? | "600 pulses" "For 400ms" (Note: 10Hz for 300ms = 4 pulses: 0, 100, 200, 300ms) (e.g., 'theta-burst' = 3 pulses) | - | No report | Always applicable
| N3. Between-burst interval |  |  | What was the interval (or frequency) between consecutive bursts of rTMS? | "60s" "Repeated at 0.1Hz" (e.g., 'theta-burst' = repeated every 200ms, or at 5Hz, or after a 160ms pause) | - | No report | Patterned rTMS only
| N4. Number of bursts |  |  | How many bursts of rTMS were presented (or how long did the rTMS last)? | "200 bursts" "For 400ms" (e.g., 'theta-burst' = 200 trains or 40s) | - | No report | Always applicable
| N5. Between-train interval |  |  | What was the between-train interval (or frequency)? | “Trains of intermittent theta-burst TMS were repeated every 10s” | - | No report | Intermittent patterned rTMS only
| N6. Number of trains |  |  | How many trains of rTMS were given? | “A single train of rTMS” “A single train of continuous theta-burst TMS” “10 trains of intermittent theta-burst” | - | No report | Always applicable
| N7. Interval between TMS and task or measure |  |  | What was the duration between the end of TMS and the start of the task or measurement? | "The task began immediately after the end of the TMS" "MEPs were measured within 5 minutes of the end of the TMS train" | - | No report | Always applicable
| N8. Number of repeats |  |  | How many times was the rTMS protocol described in sections M1:M7 repeated? | "Repeated twice with a break of 10 minutes, for a total of 1800 pulses" "Repeated three times over three days" "This protocol was applied to the two target brain areas in separate sessions" | - | No report | Always applicable

## VALIDATION
|  |  | ITEMS WITHIN EACH SECTION | [12 empty] | TIMES
Section | Relevant? | Criteria | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | VALIDATION |  |  | PMID
A | Yes | 5 | [9 empty] | INCOMPLETE |  |  | DOI | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 5
B | Yes | 7 | [9 empty] | INCOMPLETE |  |  | Study | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 7
C | Yes | 9 | [9 empty] | INCOMPLETE |  |  | Rater
D | Yes | 4 | [9 empty] | INCOMPLETE |  |  | Protocol | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 4
E | Yes | 6 | [9 empty] | INCOMPLETE | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 6
F | Yes | 3 | [9 empty] | INCOMPLETE |  |  | TOTAL | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 3
G |  | 3 | [9 empty] | RELEVANT? | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 3
H |  | 5 | [9 empty] | RELEVANT? | Min | 0 | total time | 0:00 | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 5
I |  | 3 | [9 empty] | RELEVANT? | Max | 0 | per item | #DIV/0! | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 3
J |  | 9 | [9 empty] | RELEVANT?
K |  | 7 | [9 empty] | RELEVANT? | INCOMPLETE | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 7
L |  | 7 | [9 empty] | RELEVANT? | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 7
M |  | 4 | [9 empty] | RELEVANT? | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 4
N |  | 8 | [9 empty] | RELEVANT? | bar: ITEMS WITHIN EACH SECTION 1 to ITEMS WITHIN EACH SECTION 8
80
|  |  | ITEMS WITHIN EACH SECTION 1: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) |  | SUMMARY STATS
Section | Relevant? | Criteria | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |  | ITEMS | RATED | SUM | MEAN
A | Yes | 5 | [10 empty] | 5 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 5
B | Yes | 7 | [10 empty] | 7 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 7
C | Yes | 9 | [10 empty] | 9 | 0 | 0
D | Yes | 4 | [10 empty] | 4 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 4
E | Yes | 6 | [10 empty] | 6 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 6
F | Yes | 3 | [10 empty] | 3 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 3
G |  | 3 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 3
H |  | 5 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 5
I |  | 3 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 3
J |  | 9 | [10 empty] | 0 | 0 | 0
K |  | 7 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 7
L |  | 7 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 7
M |  | 4 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 4
N |  | 8 | [10 empty] | 0 | 0 | 0 | bar: CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1 to CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 8
80
[12 empty] | TOTALS | 34 | 0 | 0
|  |  | CONVERT TO NUMBERS (PROXY FOR COMPLETENESS) 1: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) |  | SUMMARY STATS
Section | Relevant? | Criteria | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |  | SECTION | MAX | MIN | MEAN
A | Yes | 5 | [10 empty] | NaN | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 5
B | Yes | 7 | [10 empty] | NaN | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 7
C | Yes | 9 | [10 empty] | NaN | 0:00 | 0:00 | FALSE
D | Yes | 4 | [10 empty] | NaN | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 4
E | Yes | 6 | [10 empty] | NaN | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 6
F | Yes | 3 | [10 empty] | NaN | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 3
G |  | 3 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 3
H |  | 5 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 5
I |  | 3 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 3
J |  | 9 | [11 empty] | 0:00 | 0:00 | FALSE
K |  | 7 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 7
L |  | 7 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 7
M |  | 4 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 4
N |  | 8 | [11 empty] | 0:00 | 0:00 | FALSE | bar: TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 1 to TIME LAST UPDATED (PROXY FOR TIME COMPLETED) 8
|  | 80 | [11 empty] | 0 | 0 | #DIV/0!
COMMENTS FOR EXTRACTION
Section |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
A | Yes | 5 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 5
B | Yes | 7 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 7
C | Yes | 9
D | Yes | 4 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 4
E | Yes | 6 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 6
F | Yes | 3 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 3
G |  | 3 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 3
H |  | 5 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 5
I |  | 3 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 3
J |  | 9
K |  | 7 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 7
L |  | 7 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 7
M |  | 4 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 4
N |  | 8 | bar: COMMENTS FOR EXTRACTION 1 to COMMENTS FOR EXTRACTION 8
80

## OUTPUT
Study | ID | Version | Rater | Section | Item | Required | Rating | Timestamp | Comments
|  | 1.0 |  | NaN | NaN | NaN | NaN | 0 | -
|  | 1.0 |  | A | 1 | 1 | - | - | -
|  | 1.0 |  | A | 2 | 1 | - | - | -
|  | 1.0 |  | A | 3 | 1 | - | - | -
|  | 1.0 |  | A | 4 | 1 | - | - | -
|  | 1.0 |  | A | 5 | 1 | - | - | -
|  | 1.0 |  | B | 1 | 1 | - | - | -
|  | 1.0 |  | B | 2 | 1 | - | - | -
|  | 1.0 |  | B | 3 | 1 | - | - | -
|  | 1.0 |  | B | 4 | 1 | - | - | -
|  | 1.0 |  | B | 5 | 1 | - | - | -
|  | 1.0 |  | B | 6 | 1 | - | - | -
|  | 1.0 |  | B | 7 | 1 | - | - | -
|  | 1.0 |  | C | 1 | 1 | - | - | -
|  | 1.0 |  | C | 2 | 1 | - | - | -
|  | 1.0 |  | C | 3 | 1 | - | - | -
|  | 1.0 |  | C | 4 | 1 | - | - | -
|  | 1.0 |  | C | 5 | 1 | - | - | -
|  | 1.0 |  | C | 6 | 1 | - | - | -
|  | 1.0 |  | C | 7 | 1 | - | - | -
|  | 1.0 |  | C | 8 | 1 | - | - | -
|  | 1.0 |  | C | 9 | 1 | - | - | -
|  | 1.0 |  | D | 1 | 1 | - | - | -
|  | 1.0 |  | D | 2 | 1 | - | - | -
|  | 1.0 |  | D | 3 | 1 | - | - | -
|  | 1.0 |  | D | 4 | 1 | - | - | -
|  | 1.0 |  | E | 1 | 1 | - | - | -
|  | 1.0 |  | E | 2 | 1 | - | - | -
|  | 1.0 |  | E | 3 | 1 | - | - | -
|  | 1.0 |  | E | 4 | 1 | - | - | -
|  | 1.0 |  | E | 5 | 1 | - | - | -
|  | 1.0 |  | E | 6 | 1 | - | - | -
|  | 1.0 |  | F | 1 | 1 | - | - | -
|  | 1.0 |  | F | 2 | 1 | - | - | -
|  | 1.0 |  | F | 3 | 1 | - | - | -
|  | 1.0 |  | G | 1 | 0 | - | - | -
|  | 1.0 |  | G | 2 | 0 | - | - | -
|  | 1.0 |  | G | 3 | 0 | - | - | -
|  | 1.0 |  | H | 1 | 0 | - | - | -
|  | 1.0 |  | H | 2 | 0 | - | - | -
|  | 1.0 |  | H | 3 | 0 | - | - | -
|  | 1.0 |  | H | 4 | 0 | - | - | -
|  | 1.0 |  | H | 5 | 0 | - | - | -
|  | 1.0 |  | I | 1 | 0 | - | - | -
|  | 1.0 |  | I | 2 | 0 | - | - | -
|  | 1.0 |  | I | 3 | 0 | - | - | -
|  | 1.0 |  | J | 1 | 0 | - | - | -
|  | 1.0 |  | J | 2 | 0 | - | - | -
|  | 1.0 |  | J | 3 | 0 | - | - | -
|  | 1.0 |  | J | 4 | 0 | - | - | -
|  | 1.0 |  | J | 5 | 0 | - | - | -
|  | 1.0 |  | J | 6 | 0 | - | - | -
|  | 1.0 |  | J | 7 | 0 | - | - | -
|  | 1.0 |  | J | 8 | 0 | - | - | -
|  | 1.0 |  | J | 9 | 0 | - | - | -
|  | 1.0 |  | K | 1 | 0 | - | - | -
|  | 1.0 |  | K | 2 | 0 | - | - | -
|  | 1.0 |  | K | 3 | 0 | - | - | -
|  | 1.0 |  | K | 4 | 0 | - | - | -
|  | 1.0 |  | K | 5 | 0 | - | - | -
|  | 1.0 |  | K | 6 | 0 | - | - | -
|  | 1.0 |  | K | 7 | 0 | - | - | -
|  | 1.0 |  | L | 1 | 0 | - | - | -
|  | 1.0 |  | L | 2 | 0 | - | - | -
|  | 1.0 |  | L | 3 | 0 | - | - | -
|  | 1.0 |  | L | 4 | 0 | - | - | -
|  | 1.0 |  | L | 5 | 0 | - | - | -
|  | 1.0 |  | L | 6 | 0 | - | - | -
|  | 1.0 |  | L | 7 | 0 | - | - | -
|  | 1.0 |  | M | 1 | 0 | - | - | -
|  | 1.0 |  | M | 2 | 0 | - | - | -
|  | 1.0 |  | M | 3 | 0 | - | - | -
|  | 1.0 |  | M | 4 | 0 | - | - | -
|  | 1.0 |  | N | 1 | 0 | - | - | -
|  | 1.0 |  | N | 2 | 0 | - | - | -
|  | 1.0 |  | N | 3 | 0 | - | - | -
|  | 1.0 |  | N | 4 | 0 | - | - | -
|  | 1.0 |  | N | 5 | 0 | - | - | -
|  | 1.0 |  | N | 6 | 0 | - | - | -
|  | 1.0 |  | N | 7 | 0 | - | - | -
|  | 1.0 |  | N | 8 | 0 | - | - | -